## Slide 1
UPJŠ | Via Carpathia | KSK | INTERREG Danube Region
Michal Gallay, Michaela Nováková, Ján Šašak,
Tomáš Fedor, Jaroslav Hofierka, Katarína Onačillová, Daniela Kolcunová, Pamela Valentová, Martin Pukančík
A Multi-Source GIS Framework for Mapping Energy and Climate Adaptation Potential in the Košice Self-Governing Region

## Slide 4
The map layers remain separate indicators; they are intended for comparison rather than a single opaque score.

## Slide 7
Average surface temperature:
Indirectly identifies the risk of surface overheating, e.g. for planning green/blue infrastructure

## Slide 8
Precipitation-based rainwater availability indicator

## Slide 9
Heat Pump Suitability: Three Systems, Three Spatial Constraints
Ground-Source (Zem–Voda)
KEY VARIABLE
Geological thermal conductivity
HIGHER POTENTIAL
Compact rocks / stony soils
LOWER POTENTIAL
Sand & gravel
Water-Source (Voda–Voda)
KEY VARIABLE
Groundwater depth
HIGHEST POTENTIAL
5–15 m
LOWER POTENTIAL
<5 m or >15–30 m
Air-Source (Vzduch–Voda)
KEY VARIABLE
Heating-season air temperature
CLIMATE BASIS
10-year WRF–ARW
REGIONAL RANGE
2.6–8.6 °C
Theating season = Tannual − 4.5 °C
Data source: ŠGÚDŠ - Geologická mapa Slovenskej republiky, mierka 1 : 50 000. Digitálny priestorový dataset.
Data source: ŠGÚDŠ - Úroveň hladiny podzemnej vody pod terénom, mierka 1 : 50 000. Digitálny priestorový dataset.

## Slide 10
potentially more favourable for connection to existing district-heating infrastructure.
Source: SEIA, https://tepelnamapa.siea.sk/).

## Slide 11
Notes: The novelty is not in the individual maps, but in the transparent integration of heterogeneous, multi-scale spatial evidence into a common building-level decision framework.

## Slide 12
The Application: Multiple Indicators, One Spatial Interface

## Slide 13
geoportalksk.sk

## Slide 14
The outputs have also entered regional public discussion and stakeholder communication.

## Slide 15
From heterogeneous regional data to transparent building-level spatial evidence.
Spatial screening indicators, not a techno-economic feasibility assessment.

## Slide 16
UPJŠ | Via Carpathia | KSK | INTERREG Danube Region
Michal Gallay, Michaela Nováková, Ján Šašak,
Tomáš Fedor, Jaroslav Hofierka, Katarína Onačillová, Daniela Kolcunová, Pamela Valentová, Martin Pukančík
A Multi-Source GIS Framework for Mapping Energy and Climate Adaptation Potential in the Košice Self-Governing Region
michal.gallay@upjs.sk
uge.science.upjs.sk | viacarpatia.eu | geoportalksk.sk | interreg-danube.eu/projects/reheateast